Supplementary material

Selecting optimal wavelength intervals for an optical sensor: A case study of milk fat and total protein analysis in the region 400–1100 nm

Vladislav Galyanin, Anastasiia Melenteva and Andrey Bogomolov

Samara State Technical University, Molodogvardeyskaya Street 244, 443100 Samara, Russia

Vladislav Galyanin: v.galyanin@gmail.com Tel.: +7 927 294 45 12.

Anastasiia Melenteva: melenteva-anastasija@rambler.ru Tel.: +7 927 745 49 32.

Andrey Bogomolov: ab@globalmodelling.com FAX: +49 7361 9281 10.

Table S1. Calibration, validation and prediction statistics for PLS models calibrated on optimized spectral intervals (full).

| N LED | nLV |  |  | Avg, nm |  | RMSEC | RMSECV1 | RMSECV2 | RMSEP | R2 | R2CV1 | R2CV2 | R2P | Diodes configuration, nm |  | Time |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Section 1: Fat content, exhaustive search, predefined grid, width = 33 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 4 |  | 16 |  | 0.067751 | 0.071132 | 0.072558 | 0.070625 | 0.98924 | 0.98814 | 0.98766 | 0.98562 | 768 816 864 928 976 |  | 18m |
| 6 |  | 4 |  | 16 |  | 0.067263 | 0.070726 | 0.072032 | 0.069559 | 0.98939 | 0.98827 | 0.98784 | 0.98605 | 768 816 864 896 928 976 |  | 1:41h |
| 6 |  | 5 |  | 16 |  | 0.064492 | 0.068572 | 0.069317 | 0.06811 | 0.99025 | 0.98898 | 0.98874 | 0.98663 | 656 768 816 864 928 976 |  | 5:20h |
| 7 |  | 4 |  |  |  | 0.067419 | 0.071124 | 0.072254 | 0.068897 | 0.98934 | 0.98814 | 0.98776 | 0.98632 | 768 800 832 864 896 928 976 |  | 6:06h |
| 7 |  | 5 |  | 16 |  | 0.063393 | 0.069579 | 0.075512 | 0.065689 | 0.99058 | 0.98865 | 0.98663 | 0.98756 | 608 672 768 832 864 928 976 |  | 6:08h |
|  |  |  |  |  | Section 2: Protein content, exhaustive search, predefined grid, width = 33 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 3 |  | 16 |  | 0.049707 | 0.05872 | 0.083617 | 0.053474 | 0.95332 | 0.93486 | 0.86791 | 0.93512 | 512 544 640 992 1040 |  | 20m |
| 6 |  | 3 |  | 16 |  | 0.049824 | 0.064699 | 0.10278 | 0.052187 | 0.9531 | 0.92092 | 0.80042 | 0.93821 | 512 544 592 624 992 1024 |  | 1:38h |
| 6 |  | 4 |  |  |  | 0.04388 | 0.053745 | 0.066274 | 0.08026 | 0.96362 | 0.94543 | 0.91702 | 0.85385 | 416 496 560 592 640 672 |  | 5:22h |
| 6 |  | 4 |  |  |  | 0.048474 | 0.052146 | 0.05483 | 0.053603 | 0.95561 | 0.94863 | 0.94321 | 0.93481 | 464 512 560 608 1008 1040 |  | 5:22h |
| 7 |  | 3 |  |  |  | 0.051316 | 0.053438 | 0.055897 | 0.053584 | 0.95025 | 0.94605 | 0.94097 | 0.93486 | 416 464 528 560 592 624 656 |  | 5:58h |
| 7 |  | 4 |  | 16 |  | 0.045564 | 0.051602 | 0.059503 | 0.10152 | 0.96078 | 0.9497 | 0.93311 | 0.76616 | 464 512 560 592 912 944 976 |  | 5:49h |
| 7 |  | 4 |  | 16 |  | 0.048806 | 0.074143 | 0.079787 | 0.066354 | 0.955 | 0.89615 | 0.87974 | 0.90011 | 512 544 640 752 832 880 992 |  | 5:49h |
| 7 |  | 4 |  | 16 |  | 0.050753 | 0.054795 | 0.056432 | 0.056975 | 0.95134 | 0.94328 | 0.93984 | 0.92635 | 560 608 784 816 848 1008 1040 |  | 5:49h |
|  |  |  |  |  | Section 3: Fat content, genetic algorithm, width = 33 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 4 |  | 16 |  | 0.065318 | 0.068699 | 0.06999 | 0.06567 | 0.99000 | 0.98894 | 0.98852 | 0.98757 | 770 861 922 937 975 |  | 4m |
| 6 |  | 4 |  | 16 |  | 0.063205 | 0.066557 | 0.067724 | 0.062909 | 0.99063 | 0.98962 | 0.98925 | 0.98859 | 769 827 862 922 936 977 |  | 72m |
| 6 |  | 5 |  | 16 |  | 0.061315 | 0.065608 | 0.067683 | 0.065344 | 0.99119 | 0.98991 | 0.98926 | 0.98769 | 619 628 767 857 933 970 |  | 64m |
| 7 |  | 4 |  | 16 |  | 0.063478 | 0.066856 | 0.06789 | 0.062951 | 0.99055 | 0.98952 | 0.98919 | 0.98858 | 770 779 827 863 923 936 976 |  | 16m |
| 7 |  | 5 |  | 16 |  | 0.060509 | 0.064788 | 0.065401 | 0.062127 | 0.99142 | 0.99016 | 0.98997 | 0.98887 | 664 764 843 863 921 936 976 |  | 31m |
|  |  |  |  |  | Section 4: Protein content, genetic algorithm, width = 33 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 3 |  | 16 |  | 0.05039 | 0.052465 | 0.055069 | 0.052947 | 0.95203 | 0.948 | 0.94271 | 0.9364 | 426 467 532 624 628 |  | 11m |
| 6 |  | 3 |  | 16 |  | 0.050076 | 0.052166 | 0.054688 | 0.051935 | 0.95263 | 0.94859 | 0.9435 | 0.9388 | 428 467 528 530 614 624 |  | 23m |
| 6 |  | 4 |  | 16 |  | 0.040468 | 0.044843 | 0.048365 | 0.060727 | 0.96906 | 0.96201 | 0.95581 | 0.91633 | 477 481 580 594 706 708 |  | 54m |
| 7 |  | 3 |  | 16 |  | 0.050026 | 0.052096 | 0.054625 | 0.052318 | 0.95272 | 0.94873 | 0.94363 | 0.9379 | 427 467 527 543 608 609 614 |  | 2m |
| 7 |  | 4 |  | 16 |  | 0.041649 | 0.044323 | 0.046851 | 0.047253 | 0.96723 | 0.96289 | 0.95853 | 0.94934 | 460 468 560 580 597 686 691 |  | 15m |
|  |  |  |  |  | Section 5: Fat content, genetic algorithm, Gaussian approx. variation = 16 nm, width = 71 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 4 |  |  |  | 0.065498 | 0.06888 | 0.070284 | 0.067581 | 0.98994 | 0.98888 | 0.98842 | 0.98684 | 776 819 848 928 975 |  | 2m |
| 6 |  | 4 |  |  |  | 0.065297 | 0.068659 | 0.069962 | 0.067195 | 0.99 | 0.98895 | 0.98853 | 0.98699 | 780 812 818 851 929 973 |  | 28m |
| 6 |  | 5 |  |  |  | 0.061648 | 0.065703 | 0.066374 | 0.064862 | 0.99109 | 0.98988 | 0.98967 | 0.98787 | 660 761 808 854 935 960 |  | 42m |
| 7 |  | 4 |  |  |  | 0.065319 | 0.068787 | 0.070041 | 0.06751 | 0.99 | 0.98891 | 0.9885 | 0.98686 | 779 809 818 850 892 931 972 |  | 41m |
| 7 |  | 5 |  |  |  | 0.061362 | 0.065871 | 0.068215 | 0.063641 | 0.99117 | 0.98983 | 0.98909 | 0.98833 | 627 660 772 840 860 934 962 |  | 37m |
|  |  |  |  |  | Section 6: Protein content, genetic algorithm, Gaussian approx. variation = 16 nm, width = 71 nm |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 3 |  |  |  | 0.049338 | 0.05146 | 0.053747 | 0.050268 | 0.95401 | 0.94997 | 0.94543 | 0.94267 | 441 451 564 592 594 |  | 17m |
| 6 |  | 3 |  |  |  | 0.049381 | 0.051481 | 0.053728 | 0.050346 | 0.95393 | 0.94993 | 0.94546 | 0.94249 | 437 452 557 560 592 596 |  | 14m |
| 6 |  | 4 |  |  |  | 0.04299 | 0.045916 | 0.048308 | 0.048485 | 0.96509 | 0.96017 | 0.95591 | 0.94667 | 465 469 570 589 664 673 |  | 33m |
| 7 |  | 3 |  |  |  | 0.049394 | 0.051492 | 0.053748 | 0.050437 | 0.95391 | 0.94991 | 0.94542 | 0.94228 | 436 453 553 559 567 591 599 |  | 84m |
| 7 |  | 4 |  |  |  | 0.044921 | 0.047794 | 0.050511 | 0.04511 | 0.96188 | 0.95685 | 0.9518 | 0.95383 | 457 462 567 571 596 666 670 |  | 8m |
|  |  |  |  |  | Section 7: Fat content, genetic algorithm, commercially available LEDs |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 4 |  |  |  | 0.066312 | 0.069623 | 0.070753 | 0.067203 | 0.98969 | 0.98864 | 0.98826 | 0.98698 | 37 39 46 50 521 |  | 5m |
| 6 |  | 4 |  |  |  | 0.065848 | 0.069179 | 0.070323 | 0.066909 | 0.98983 | 0.98878 | 0.98841 | 0.9871 | 37 39 43 46 50 521 |  | 3m |
| 6 |  | 5 |  |  |  | 0.063261 | 0.067551 | 0.068164 | 0.067177 | 0.99062 | 0.9893 | 0.98911 | 0.98699 | 24 34 43 44 50 521 |  | 43m |
| 7 |  | 4 |  |  |  | 0.066245 | 0.069505 | 0.070788 | 0.067616 | 0.98971 | 0.98867 | 0.98825 | 0.98682 | 37 38 40 43 46 50 521 |  | 48m |
| 7 |  | 5 |  |  |  | 0.063186 | 0.067465 | 0.06808 | 0.067035 | 0.99064 | 0.98933 | 0.98913 | 0.98705 | 25 35 36 43 44 50 521 |  | 23m |
|  |  |  |  |  | Section 8: Protein content, genetic algorithm, commercially available LEDs |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 3 |  |  |  | 0.050679 | 0.052759 | 0.055275 | 0.051919 | 0.95148 | 0.94742 | 0.94228 | 0.93884 | 2 6 7 22 431 |  | 21m |
| 6 |  | 3 |  |  |  | 0.049232 | 0.0523 | 0.05695 | 0.05357 | 0.95421 | 0.94833 | 0.93873 | 0.93489 | 2 6 7 10 53 561 |  | 6m |
| 6 |  | 4 |  |  |  | 0.048051 | 0.050441 | 0.053943 | 0.056461 | 0.95638 | 0.95193 | 0.94503 | 0.92767 | 2 7 9 14 22 481 |  | 35m |
| 7 |  | 3 |  |  |  | 0.05016 | 0.052208 | 0.054714 | 0.052299 | 0.95247 | 0.94851 | 0.94345 | 0.93794 | 2 6 7 11 13 21 221 |  | 25m |
| 7 |  | 4 |  |  |  | 0.047592 | 0.050088 | 0.053418 | 0.05478 | 0.95721 | 0.9526 | 0.94609 | 0.93192 | 2 7 9 12 22 35 401 |  | 49m |
|  |  |  |  |  | Section 9: Fat+protein content, genetic algorithm, commercially available LEDs |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 5+4 |  |  |  | 0.087521 0.051362 | 0.094566 0.054339 | 0.099412 0.059083 | 0.089705 0.053695 | 0.98204 0.95016 | 0.97904 0.94422 | 0.97683 0.93405 | 0.97681 0.93459 | 2 6 7 10 41 44 481 |  | 46m |
| 9 |  | 5+4 |  |  |  | 0.08753 0.05193 | 0.094629 0.05494 | 0.10001 0.059664 | 0.088966 0.054568 | 0.98204 0.94905 | 0.97901 0.94298 | 0.97655 0.93275 | 0.97719 0.93244 | 2 5 6 7 11 40 42 47 481 |  | 13m |
| 11 |  | 5+4 |  |  |  | 0.086737 0.052353 | 0.096251 0.055245 | 0.10268 0.059694 | 0.11267 0.056957 | 0.98236 0.94822 | 0.97828 0.94234 | 0.97528 0.93268 | 0.96341 0.9264 | 1 5 7 9 18 19 21 40 41 42 481 |  | 33m |
| 7 |  | 4+3 |  |  |  | 0.097684 0.054825 | 0.1038 0.057084 | 0.10831 0.060445 | 0.11107 0.061355 | 0.97763 0.94322 | 0.97474 0.93844 | 0.9725 0.93098 | 0.96444 0.91459 | 6 7 9 40 41 42 441 |  | 10m |
| 9 |  | 4+3 |  |  |  | 0.094786 0.058333 | 0.10096 0.061075 | 0.10604 0.064487 | 0.10432 0.060458 | 0.97894 0.93572 | 0.9761 0.92953 | 0.97364 0.92144 | 0.96863 0.91707 | 2 4 5 6 7 42 43 47 481 |  | 75m |
| 11 |  | 4+3 |  |  |  | 0.10069 0.059172 | 0.10698 0.062294 | 0.11412 0.066163 | 0.10989 0.060252 | 0.97623 0.93385 | 0.97317 0.92669 | 0.96947 0.9173 | 0.96519 0.91763 | 2 5 6 7 38 39 40 41 42 43 481 |  | 21m |
| 7 |  | 52 |  |  |  | 0.082627 0.0569 | 0.088593 0.06172 | 0.093313 0.064411 | 0.079572 0.061366 | 0.98399 0.93884 | 0.9816 0.92804 | 0.97959 0.92162 | 0.98175 0.91456 | 15 18 20 45 49 50 531 |  | 5m |
| 9 |  | 52 |  |  |  | 0.087681 0.052022 | 0.094574 0.055594 | 0.099223 0.061072 | 0.08953 0.065595 | 0.98198 0.94887 | 0.97903 0.94161 | 0.97692 0.92954 | 0.9769 0.90238 | 2 5 7 11 43 44 45 47 481 |  | 49m |
| 11 |  | 52 |  |  |  | 0.088815 0.051228 | 0.096471 0.054945 | 0.10424 0.060314 | 0.084006 0.064133 | 0.98151 0.95042 | 0.97818 0.94297 | 0.97453 0.93128 | 0.97966 0.90668 | 2 5 6 7 10 20 21 22 42 43 481 |  | 79m |
| 7 |  | 42 |  |  |  | 0.098186 0.053238 | 0.10432 0.056349 | 0.11059 0.061217 | 0.10679 0.054348 | 0.9774 0.94646 | 0.97449 0.94001 | 0.97133 0.9292 | 0.96713 0.93299 | 5 6 7 39 42 44 481 |  | 29m |
| 9 |  | 42 |  |  |  | 0.10247 0.052339 | 0.10876 0.055335 | 0.11599 0.05992 | 0.11141 0.054589 | 0.97538 0.94825 | 0.97227 0.94215 | 0.96846 0.93217 | 0.96422 0.93239 | 2 5 7 37 41 44 46 48 491 |  | 40m |
| 11 |  | 42 |  |  |  | 0.10716 0.051099 | 0.11432 0.054031 | 0.12152 0.058517 | 0.11596 0.05279 | 0.97308 0.95067 | 0.96936 0.94485 | 0.96538 0.93531 | 0.96124 0.93677 | 6 7 24 31 32 36 38 51 53 54 551 |  | 70m |

__________

1 – LED catalogue number.

2 – Using PLS-2, instead of PLS-1, twice faster but less effective and adjustable.